When properly sizing a pump, we need to know:

• Liquid Data

⇒ Product	⇒ Specific Gravity

• Operating Conditions

⇒	Capacity (LPM)	⇒	Discharge Pressure (PSI)	⇒	Head Pressure (TDH)

⇒	Inlet Pressure (PSI) (Where NPSHₐ ≥ NPSHᵣ)

⇒	Viscosity (cP) - Ambient Temperature, Process Temperature	⇒	Solid Size & Content

Horizontal and vertical runs are important factors when determining head.  Friction loss is critical to determining head pressure.  To properly size a pump, the size and type of all fittings, valves and equipment must be taken into consideration.

• Suction Line	      	• Discharge Line

⇒ Tubing Size_____________	 	⇒ Tubing Size____________

⇒ Vertical Drop____________	 	⇒ Vertical Rise____________

⇒ Total Elbows____________ 	 	⇒ Horizontal Run__________

⇒ Total Tees______________	 	⇒ Total Elbows____________

⇒ Total Valves_____________	 	⇒ Total Tees______________

⇒ Total Valves_____________

• Discharge Valve(s) and/or Equipment

Butterfly_______ Ball_______ Disk Check_______Other_____________

DTI’s application engineers are available to assist you with diagnostic sizing.  A completed sizing sheet is paramount for correct pump selection.  There are many pump applications; determining which pump is appropriate for your needs is critical.

To ensure many years of successful processing, contact DTI Inc. to help size your pump today.